CITY OF GRAPEVINE

### Standard Notes for Site and Landscape Plans

SITE PLAN

  - Refuse disposal areas shall be landscaped and screened from view in accordance with the Zoning Ordinance.

  - Mechanical and electrical equipment including air conditioning units, shall be designed, installed, and operated to minimize noise impact on surrounding property.  All such equipment shall be screened from public view in accordance with the Zoning Ordinance.

  - Open storage, where permitted, shall be screened in accordance with the Zoning Ordinance.

  - The masonry requirements of Section 54 of the Zoning Ordinance shall be met.

  - Illuminated signage was included in the determination of the site illumination levels.

  - Outdoor lighting shall comply with illumination standards within Section 55 of the Zoning Ordinance unless specifically excepted.

  - Proposed ground signage shall meet the minimum requirements of Section 60 of the Zoning Ordinance and is contingent upon approval of a separate building permit with Building Services.

  - All onsite electrical conductors associated with new construction shall be located underground.

  - Uses shall conform in operation, location, and construction to the following performance standards in Section 55 of the Zoning Ordinance: noise, smoke and particulate matter, odorous matter, fire or explosive hazard material, toxic and noxious matter, vibration, and/or other performance standards.

  - All requirements of the City of Grapevine soil erosion control ordinance shall be met during the period of construction.

LANDSCAPE PLAN

- Shrubs shall be a minimum of two (2) feet in height when measured immediately after planting.  Hedges, where installed, shall be planted and maintained to form a continuous, unbroken, solid, visual screen which will be three (3) feet high within one (1) year after time of planting.

- All requirements of the City of Grapevine soil erosion control ordinance shall be met during the period of construction.